## Sheet1
S. No | question content | Option A | Option B | Option C | Option D | Explanation | Key | SUB TOPIC | Difficuilty | pool
1 | A thermostat's temperature probe turns room temperature into a voltage. Which stage of Sense → Compute → Actuate does this belong to? | Sense | Compute | Actuate | Communicate | Converting a physical quantity into an electrical signal is the job of the sense stage. | A | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_01
2 | In an alarm system, a buzzer sounds once the program has decided that an intruder is present. Which stage does the buzzer belong to? | Sense | Actuate | Compute | Communicate | The buzzer turns an electrical signal and power into sound, a physical effect, so it is on the actuate side. | B | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_01_V1
3 | A microcontroller reads a sensor value as a number, compares it with a limit and chooses ON or OFF. Which stage is it performing? | Sense | Actuate | Compute | Communicate | Interpreting the signal and deciding what to do is the compute stage. | C | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_01_V2
4 | Which of the following is a physical OUTPUT of an IoT system? | Soil drying out | A lamp switching on | Room temperature rising | Light level dropping at dusk | A lamp lighting is a physical effect produced by the system. The other options are physical conditions the system senses as inputs. | B | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_02
5 | Which of the following is a physical INPUT to an IoT system? | A motor turning a wheel on a robot | A buzzer producing a loud sound | Soil moisture falling as the soil dries | A heater warming the air in a room | Soil moisture is a real-world quantity the system measures. A turning motor, a sounding buzzer and a heater are outputs. | C | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_02_V1
6 | How does a program in an IoT system differ from ordinary software that runs only inside a computer? | It never needs to be written as a program because the hardware decides everything | It can only run if the device is connected to a network | Its outputs are always text or pixels on a screen | Its inputs and outputs are physical things such as light, motion or heat, not only data | Physical computing connects a program to real quantities in and real effects out, which is what changes the rules compared with software that only handles data. | D | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_02_V2
7 | A wearable band detects an abnormal heart rhythm, then vibrates and sends an alert. Which row assigns the stages correctly? | Sense: vibration motor. Compute: heart-rate sensor. Actuate: pattern detection. | Sense: pattern detection. Compute: vibration and alert. Actuate: heart-rate sensor. | Sense: heart-rate sensor. Compute: pattern detection. Actuate: vibration and alert. | Sense: vibration and alert. Compute: heart-rate sensor. Actuate: pattern detection. | The heart-rate sensor senses, the pattern detection computes, and the vibration or alert is the actuating effect. | C | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_03
8 | An air conditioner holds 24 °C. Which row assigns the stages correctly? | Sense: compressor and fan. Compute: room temperature sensor. Actuate: compare with the set point. | Sense: compare with the set point. Compute: compressor and fan. Actuate: room temperature sensor. | Sense: compare with the set point. Compute: room temperature sensor. Actuate: compressor and fan. | Sense: room temperature sensor. Compute: compare with the set point. Actuate: compressor and fan. | Temperature is sensed, the comparison with the target is the computation, and the compressor and fan are the actuators. | D | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_03_V1
9 | A warehouse robot stops before hitting a person. Which row assigns the stages correctly? | Sense: camera and distance sensors. Compute: recognise the obstacle and choose to stop. Actuate: wheel motors. | Sense: wheel motors. Compute: camera and distance sensors. Actuate: recognise the obstacle and choose to stop. | Sense: recognise the obstacle and choose to stop. Compute: wheel motors. Actuate: camera and distance sensors. | Sense: wheel motors. Compute: recognise the obstacle and choose to stop. Actuate: camera and distance sensors. | Cameras and distance sensors sense, the obstacle recognition and stop decision is compute, and the wheel motors are the actuators. | A | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_03_V2
10 | A lamp switches on at dusk entirely by itself with no network. Its maker adds a link so it reports its state to a control room and can be switched off remotely. What does this change? | It gains a sense stage for the first time because of the Wi-Fi link | It no longer needs a compute stage because the network does it all | It stops being an embedded system and becomes a cloud service | It becomes an IoT system, because data can leave and commands can arrive | Communication over a network is what upgrades a standalone embedded system to IoT. The loop and the on-device decision were already there. | D | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_04
11 | A smart street light still turns on at dusk after its network connection is removed. What does this show? | Its core was an embedded system all along, with a network added on top | It was never sensing light and was working from a timer | It must have been making its decisions in the cloud | It is now a Physical AI system | If the core behaviour survives without the network, the sense-compute-actuate part is a self-contained embedded system. The network adds the IoT capability. | A | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_04_V1
12 | Which of these devices is an IoT device rather than only a standalone smart device? | A washing machine that runs a built-in cycle with no network | A pump controller that reports its state and accepts remote commands | A lamp that turns on when its own light sensor sees darkness | A toy car that turns away when its bump sensor is pressed | IoT means the device also communicates over a network. The other devices sense and act on their own with no network. | B | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_04_V2
13 | A farmer checks live soil-moisture readings on a phone while away from the field. Which benefit of connectivity is this? | Remote monitoring | Remote control | Coordination | Data collection at scale | Viewing the state of a sensor from anywhere is remote monitoring. | A | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_05
14 | A technician switches off a street light from the control room during maintenance without visiting the pole. Which benefit of connectivity is this? | Remote monitoring | Remote control | Coordination | Data collection at scale | Sending a command to change a device's behaviour from far away is remote control. | B | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_05_V1
15 | Street lights in a neighbourhood dim together as traffic falls, adjusting to each other. Which benefit of connectivity is this? | Remote monitoring | Remote control | Coordination | Data collection at scale | Devices adjusting their behaviour together is coordination. | C | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_05_V2
16 | An automatic door must still open for a person when the Wi-Fi drops. Where should this safety-critical decision be made? | On cloud servers reached over the internet | On the device itself | On a computer in a distant control room | In a phone app owned by the building manager | Decisions on the device are fastest and keep working offline. Any option that depends on the network could fail when the Wi-Fi drops. | B | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_06
17 | A company wants to combine readings from 200 machines in different factories and run a heavy analysis, and a short delay is acceptable. Which placement of computing fits best? | On each machine's own small microcontroller | Inside the sensor, with no network at all | In the cloud | Nowhere, because heavy analysis cannot be automated | The cloud has very large computing power and can see data from many devices. The cost is network dependence and delay, which this case accepts. | C | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_06_V1
18 | Several nearby devices in a building need quick joint decisions, faster than a round trip to the internet, using a small local computer. Which placement is this? | On the device, inside each sensor | In the cloud, on remote servers | Inside the actuator's power supply | At the edge, on a nearby gateway | A nearby computer that combines local devices with low delay is the edge. It is faster than the cloud and more powerful than a small device. | D | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_06_V2
19 | Which task is the best candidate for AI in the compute stage instead of a fixed rule written by a person? | Switching a lamp on when brightness falls below a set value | Starting a pump when soil moisture drops below a set value | Deciding from a camera image whether each fruit on a conveyor belt is ripe | Switching a fan on when temperature rises above a set limit | Judging ripeness from an image depends on patterns that are hard to write as exact rules, so a model that learned from data suits it. The others are simple threshold rules. | C | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_07
20 | A factory wants early warning that a machine's bearing is about to fail, using complex vibration patterns. Which design best fits AIoT? | One fixed vibration threshold that stops the machine whenever it is exceeded | A timer that stops the machine every hour regardless of its vibration readings | A button that lets the operator report vibration by hand whenever they notice it | A trained model, on or near the device, that interprets the vibration data and raises an alert | AIoT puts a model in the compute stage of a connected device so it can recognise patterns and detect faults. Running it on or near the device reduces delay and data sent. | D | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_07_V1
21 | A smart doorbell must decide from video whether the visitor is a known family member. Why is a single fixed threshold rule unsuitable here? | The decision depends on learned patterns in images that one simple rule cannot capture | Doorbells are too small to run any kind of program at all | Threshold rules only work when the device is connected to the cloud | Cameras cannot produce electrical signals that a program could read | Recognising people from images is the kind of problem where AI models that learned patterns from data are used instead of hand-written rules. | A | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_07_V2
22 | A warehouse robot uses cameras and distance sensors, plans a route around obstacles, drives wheel motors and a lifting mechanism, receives orders and reports its position. Which analysis is correct? | Senses the route; computes with the wheel motors; actuates with the cameras; is not connected | Senses orders; computes shelf positions; actuates the network; AI could not be used at all | Senses with the lifting mechanism; computes with the wheels; actuates by reporting position; is not connected | Senses shelves and obstacles; computes the route; actuates wheels and lift; is connected; AI could recognise objects | Cameras and distance sensors sense, route planning is compute, motors and lift actuate, orders in and position out make it connected, and object recognition is a natural use of AI. | D | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_08
23 | An automatic irrigation system reads soil moisture and a weather forecast, decides whether the soil is too dry and whether rain is expected, then opens a valve and reports readings to a phone. Which analysis is correct? | Senses moisture and weather; computes dry-or-rain decision; actuates the valve; is connected through the reports | Senses with the valve; computes by reporting to the phone; actuates the soil; is not connected | Senses the decision; computes the weather; actuates moisture readings; is connected only through the valve | Senses the phone; computes the valve opening; actuates the forecast; is not connected | Moisture and weather are sensed, the dry-or-rain judgement is compute, the valve actuates, and sending readings to a phone makes it connected. | A | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_08_V1
24 | A machine health monitor reads vibration and temperature, detects early signs of failure and raises an alert for an operator, who then slows the machine. Which statement is correct? | It senses the alert, computes the operator's action, and actuates the vibration in the machine | It senses vibration and temperature, computes failure risk, and the alert and operator actuate, so a person is in the loop | It has no compute stage at all, because a person makes the final decision on the machine | It cannot be a sense-compute-actuate system because no motor is directly driven by the program | Actuation does not always mean motion. Here the alert and the human who acts complete the loop, which is a human-in-the-loop system. | B | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_08_V2
25 | In the water analogy, which electrical quantity corresponds to the pressure that pushes the water? | Voltage | Current | Resistance | Power | Pressure difference corresponds to voltage, the electrical push. | A | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_09
26 | Which quantity measures how much charge flows past a point each second, and is measured in amperes? | Voltage | Current | Resistance | Power | Current is the flow of charge per second and its unit is the ampere. | B | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_09_V1
27 | A narrow section of pipe restricts the flow of water. Which electrical quantity and unit does it correspond to? | Voltage, measured in volts | Current, measured in amperes | Resistance, measured in ohms | Power, measured in watts | Opposition to flow is resistance, measured in ohms. | C | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_09_V2
28 | A 3.3 V supply is connected across a 330 Ω resistor. What current flows? | 1 mA | 10 mA | 100 mA | 0.1 mA | I = V ÷ R = 3.3 V ÷ 330 Ω = 0.01 A = 10 mA. | B | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_10
29 | A resistor has 5 V across it and carries 10 mA. What is its resistance? | 50 Ω | 5 kΩ | 500 Ω | 2 kΩ | R = V ÷ I = 5 V ÷ 0.01 A = 500 Ω. | C | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_10_V1
30 | A 1 kΩ resistor carries 3 mA. What voltage is across it? | 0.33 V | 30 V | 1 V | 3 V | V = I × R = 0.003 A × 1000 Ω = 3 V. | D | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_10_V2
31 | A 5 V source drives a 1 kΩ resistor, then the resistor is replaced by a 500 Ω one. What happens to the current? | It halves, from 5 mA to 2.5 mA | It stays at 5 mA | It doubles, from 5 mA to 10 mA | It rises to 50 mA | For a fixed voltage, halving the resistance doubles the current: 5 V ÷ 500 Ω = 10 mA. | C | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_11
32 | A resistor carries 2 mA from a 3 V supply. The supply is changed to 6 V with the same resistor. What is the new current? | 1 mA | 2 mA | 12 mA | 4 mA | Doubling the voltage across the same resistor doubles the current, so 4 mA. | D | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_11_V1
33 | From a 5 V supply, a resistor R draws 5 mA. It is replaced with a resistor four times as large. What is the new current? | 1.25 mA | 20 mA | 5 mA | 2.5 mA | Current is inversely related to resistance, so four times the resistance gives a quarter of the current: 5 mA ÷ 4 = 1.25 mA. | A | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_11_V2
34 | What must exist for current to flow around a simple circuit? | A source and a gap somewhere in the path | A resistor and an LED, with no source | Two separate paths with no connection between them | A source that pushes the charges and a complete closed path | Current needs a push from a source and a closed loop to travel around. Break the loop anywhere and it stops. | D | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_12
35 | A wire in a series loop containing a battery, a resistor and an LED is cut. What happens to the current? | It stops everywhere in the loop | It stops only in the LED | It increases in the resistor | It reverses direction | In a single-path loop, a break anywhere stops the current everywhere. | A | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_12_V1
36 | What does a switch do in a circuit? | It increases the voltage of the source | It deliberately opens or closes the path | It converts current into light | It limits the current to a safe value | A switch is a device that opens or closes the circuit's path, allowing or stopping current. | B | GETTING_STARTED_WITH_IOT | EASY | IOT_FOUNDATIONS_DP_12_V2
37 | A student connects an LED straight across a 3.3 V supply with nothing in series. What is the most likely problem? | Nothing limits the current, so it can exceed what the LED and pin can handle | The LED will glow only dimly because the supply voltage is too low | The LED will light normally because it limits its own current draw | The supply voltage will automatically rise to compensate for the load | An LED does not follow Ohm's Law like a resistor. Without a resistor the current rises steeply and can damage the LED or the pin. | A | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_13
38 | Which statement best describes the series resistor in an LED circuit? | It raises the LED's forward voltage so it needs less current | It takes the remaining supply voltage and so sets a safe current | It stores energy in order to make the LED shine much brighter | It converts the supply into a higher voltage for the LED | The resistor drops the extra voltage. Choosing its value chooses the current, so the LED stays safe. | B | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_13_V1
39 | The series resistor of a working LED circuit is replaced by a larger one, with the same supply. What is the likely result? | The current rises and the LED becomes brighter | The current stays the same because the LED sets it | The current falls and the LED becomes dimmer | The LED will no longer be affected by the resistor | More resistance means less current for the same voltage, so the LED is dimmer. | C | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_13_V2
40 | Three lamps must keep working independently, so that one failing does not turn off the others. Which arrangement should be used? | Series | Parallel | Series with a single shared switch only | Any arrangement works equally | In a parallel arrangement each branch has its own path, so if one opens the others keep working. | B | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_14
41 | Two resistors across a 5 V supply each have the full 5 V across them, and their currents add to the supply current. Which arrangement is this? | Series | A short circuit | Parallel | An open circuit | Parallel branches share the same voltage and their currents add. | C | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_14_V1
42 | In a series string of three resistors, one resistor opens. What happens to the current in the other two? | It increases to compensate | It continues unchanged | It splits between the remaining two | It stops, because there is only one path | A single path means that one open component stops the current through everything. | D | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_14_V2
43 | A 5 V source drives R1 and R2 in series. The voltage across R1 is 1 V. What is the voltage across R2? | 1 V | 5 V | 4 V | 6 V | By KVL the drops add up to the source: 5 V = 1 V + V2, so V2 = 4 V. | C | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_15
44 | A 9 V source drives three resistors in series. Two have 2 V and 3 V across them. What is the voltage across the third? | 5 V | 6 V | 9 V | 4 V | By KVL, 9 V = 2 V + 3 V + V3, so V3 = 4 V. | D | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_15_V1
45 | A student measures a 5 V source and drops of 1 V and 3 V around a series loop. What does KVL indicate? | The loop does not balance, so something in the design or the measurement is wrong | The circuit is consistent because the drops are smaller than the source | The source must be faulty and should be replaced | KVL does not apply to loops with a source | The drops sum to 4 V but the source supplies 5 V. If the numbers do not balance, there is an error in the design or the measurement. | A | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_15_V2
46 | 20 mA enters a junction and splits into two branches. One branch carries 13.3 mA. What does the other carry? | 13.3 mA | 33.3 mA | 20 mA | 6.7 mA | By KCL, current in equals current out: 20 mA = 13.3 mA + I, so I = 6.7 mA. | D | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_16
47 | Three branches leave a junction carrying 5 mA, 8 mA and 12 mA. What current enters the junction? | 25 mA | 12 mA | 15 mA | 8.3 mA | Current entering equals the total leaving: 5 + 8 + 12 = 25 mA. | A | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_16_V1
48 | A junction has 30 mA entering through one wire. One wire leaves carrying 12 mA, and one more wire leaves. What does that last wire carry? | 42 mA | 18 mA | 12 mA | 30 mA | Current in must equal current out, so 30 mA − 12 mA = 18 mA. | B | GETTING_STARTED_WITH_IOT | MEDIUM | IOT_FOUNDATIONS_DP_16_V2
49 | A 5 V supply is connected across a 500 Ω resistor. What power does the resistor dissipate? | 50 mW | 25 mW | 100 mW | 2.5 W | I = 5 V ÷ 500 Ω = 10 mA, then P = V × I = 5 V × 10 mA = 50 mW. | A | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_17
50 | In an LED circuit, the resistor has 1.3 V across it and the LED has 2.0 V across it, both carrying 10 mA. Which part uses more power, and what does it convert it into? | The resistor uses more, turning it into light | The LED uses more, turning it into light and some heat | Both use equal power, turning it into light | The LED uses more, turning it entirely into heat | P = V × I gives 20 mW in the LED and 13 mW in the resistor. The LED converts its share into light and some heat. | B | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_17_V1
51 | A 10 V supply is placed across a 1 kΩ resistor. What power does it dissipate, and where does that energy go? | 10 mW, all becoming heat | 100 mW, becoming light | 100 mW, all becoming heat | 1 W, becoming heat | I = 10 V ÷ 1 kΩ = 10 mA, so P = 10 V × 10 mA = 100 mW. In a resistor, the power becomes heat. | C | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_17_V2
52 | An LED with a forward voltage of about 2.0 V is powered from 3.3 V. For a current of about 10 mA, what resistor value is needed? | 330 Ω | 130 Ω | 200 Ω | 13 Ω | KVL gives 3.3 V − 2.0 V = 1.3 V across the resistor. Ohm's Law gives R = 1.3 V ÷ 10 mA = 130 Ω. | B | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_18
53 | An LED with a forward voltage of about 2.0 V is powered from 5 V. For a current of about 15 mA, what resistor value is needed? | 333 Ω | 133 Ω | 200 Ω | 20 Ω | The resistor must carry 5 V − 2.0 V = 3 V. R = 3 V ÷ 15 mA = 200 Ω. | C | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_18_V1
54 | A 150 Ω resistor is in series with an LED whose forward voltage is about 2.0 V on a 3.3 V supply. What is the current, approximately? | 22 mA | 13.3 mA | 1.3 mA | 8.7 mA | The resistor has 3.3 V − 2.0 V = 1.3 V across it, so I = 1.3 V ÷ 150 Ω ≈ 8.7 mA. | D | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_18_V2
55 | In a series loop of battery, resistor and LED, point A before the resistor is expected at 5 V and measures 5 V. Point B between resistor and LED is expected near 2 V but measures 5 V. What does this suggest? | The resistor value is far too small, so the LED is overloaded and burns out | The supply voltage is slightly lower than 5 V, so the LED is dim | There is 0 V across the resistor, so no current flows; check the LED direction and ground | The circuit matches the prediction, so there is nothing to investigate further | With 5 V at both ends of the resistor there is 0 V across it, which by V = I × R means zero current. The path is broken after B. | C | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_19
56 | A student's LED circuit does not light, and the student finds the resistor's leg in a different breadboard row from the diagram. Which kind of fault is this? | A supply (power) fault | A safety hazard | A failed component | A wiring (connection) fault | A part placed in the wrong breadboard row is a wiring (connection) fault, not a power or component fault. | D | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_19_V1
57 | A student's LED stays dark. Nothing is hot or burning, but the supply measured at the circuit reads 0 V where 5 V is expected. What does this evidence point to? | A power problem: the supply is not reaching the circuit | A failed component such as the LED | A wrong connection between the resistor and the LED | A measurement mistake in reading the expected value | A 0 V reading where 5 V is expected shows that the supply is not reaching the circuit, so the problem is in the power, before any component. | A | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_19_V2
58 | A student predicts 9 mA through an LED circuit and measures 8.9 mA. What is the reasonable conclusion? | The prediction was wrong and must be rewritten to equal 8.9 mA | The meter must be faulty because the values differ | The experiment must be repeated until the readings are identical | They agree within tolerance, so the circuit is understood | A small difference within the tolerance of parts and meter means the prediction matches, so the circuit behaviour is understood. | D | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_20
59 | A student predicts 9 mA but measures only 3 mA. What is the best next move? | Treat the difference as information: list possible causes and test them by measuring | Change the original prediction so that it simply equals the measurement | Conclude that Ohm's Law does not apply to this kind of circuit | Replace several parts at once and then check the circuit again | The difference is information. Explain it by finding what in the model, wiring or components is not as assumed, testing one possibility at a time. | A | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_20_V1
60 | A student predicts 1.3 V across a 150 Ω resistor in an LED circuit but measures 1.0 V. Which is a reasonable explanation and next measurement? | The prediction was correct, so no further checks or measurements are needed | The LED's forward voltage may be higher than assumed, or the supply lower; measure the supply voltage | The resistor must be shorted, so replace the LED and the resistor together | The meter should be placed in series with the resistor to measure its voltage | A lower resistor voltage means the LED drops more or the supply is lower than assumed. Measuring the supply quickly separates the two. | B | GETTING_STARTED_WITH_IOT | HARD | IOT_FOUNDATIONS_DP_20_V2